## input data
Figure | Unit | potential sources | Bulgaria | Croatia | Hungary | Poland | Romania | Slovakia | Slovenia
Unitary final energy consumption for space heating (low income) | kWh/household | ECF study for low income, EUROSTAT, HBS | 3865.709 | 11951.6395905264 (Total Households) | 8350.4101 | 5655.2881 | 6311.7317 | 4534.9021 | 5264.4821304949 (Total)
Unitary final energy consumption for space cooling (low income) | kWh/household | ECF study for low income, EUROSTAT, HBS | 37.1193 | 353.787999787802 (total) | 5.9055 | 0 | 31.9761 | 13.1905 | 111.631487239646 (Total)
Average area of building | m2 |  | 73 | 81.6 | 75.6 | 75.2 | 43.9 | 87.4 | 80.3
Number of households (low Income) | number | EUROSTAT | 188581.1895 | 1460900 (Total) | 677332 | 2180613.9409 | 1125840 | 379060 | 835400
Electricity price | €/kWh | EUROSTAT | 0.0911 | 0.106 | 0.0746 | 0.0912 | 0.1686 | 0.1242 | 0.1023
Electricity VAT | % | ECF study | 9% | 13% | 5% | 5% | 5% | 0% | 9.5%
NG price | €/kWh | EUROSTAT | 0.0798 | 0.0346 | 0.0229 | 0.0542 | 0.0623 | 0.0407 | 0.0507
NG VAT | % | ECF study | 9% | 5% | 5% | 0% | 5% | 0% | 9.5%
Heating oil price | €/kWh | ECF study | 0.1 | https://www.globalpetrolprices.com/Croatia/heating_oil_prices/ | 0.113 | 0.09 | 0.188 | 0.1 | https://www.globalpetrolprices.com/Slovenia/heating_oil_prices/
Heating oil VAT | % | ECF study | 9% | 13% | 5% | 5% | 5% | 0% | 9.5%
Yearly PV energy production | GWh | https://re.jrc.ec.europa.eu/pvg_tools/en/ | 1450.843 | 148.9 | 3849 | 3948.88 | 1268.98 | 667 | 452.878
CF PVs | % |  | 16.56% |  |  |  | 14.49%
General VAT | % |  | 20% |  |  |  | 19%
Total electricity consumption | kWh | ECF study |  |  |  |  | 1625.0364 | 1268.98
Biomass price | €/kWh | ECF study | 0.027953
Romania | Total | Total | Heating | Cooling | DHW | Cooking | Electric appliances & Lighting |  | Rate of space heating per fuel (in %) | Share of fuel in space heating (in %)
| Electricity | 1829.5309 | 15.7437 | 41.5571 | 35.1808 | 0.88628 | 1736.1631 |  | 0.86053 | 0.20306
| Heating oil | 66.587 | 0.091504 |  | 13.857 | 52.6385 |  |  | 0.13742 | 0.0011802
| LPG | 464.565 | 0.63486 |  | 96.6744 | 367.2557 |  |  | 0.13666 | 0.0081885
| Natural gas | 3954.9654 | 2315.1952 |  | 899.4775 | 740.2926 |  |  | 58.539 | 29.8615
| Solar thermal | 0 | 0 |  | 0 |  |  |  | #DIV/0! | 0
| Ambient heat | 0 | 0 | [5 empty] | #DIV/0! | 0
| Biomass | 4941.8453 | 4232.1963 |  | 632.062 | 77.587 |  |  | 85.64 | 54.5871
| District heating | 1143.7048 | 1143.7048 |  | 0 |  |  |  | 100 | 14.7516
| Other | 66.0821 | 45.5412 |  | 15.0948 | 5.4462 |  |  | 68.916 | 0.58739
| Total | 12467.2805 | 7753.1075 | 41.5571 | 1692.3465 | 1244.1062 | 1736.1631 |  |  | 100
Reference system | NG
0.0589
Note on I5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://www.cbs.nl/en-gb/news/2016/32/romanians-have-smallest-dwelling-space

## Sc1-CBA
Available budget for fossil fuels | 4350000000 | € |  | Year | O&M Cost | O&M Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 12000 | € |  | 0 |  |  |  |  | 3262500000 |  | -3262500000
Unitary investment cost with subsidy | 12000 | € |  | 1 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 85831141.5077
Avoided cost from new fossil fuel boiler | 3000 | € |  | 2 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 84972830.0926
Number of influenced households | 362500 | number of households | 32.2% | 3 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 84123101.7917
Energy consumption for space cooling | 31.9761 | kWh |  | 4 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 83281870.7738
Energy consumption for space heating | 6311.7317 | kWh |  | 5 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 82449052.066
% of energy savings in space cooling | 60% | % |  | 6 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 81624561.5454
% of energy savings in space heating | 60% | % |  | 7 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 80808315.9299
Energy savings in space cooling | 19.1857 | kWh |  | 8 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 80000232.7706
Energy savings in space heating | 3787.039 | kWh |  | 9 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 79200230.4429
Electricity price | 0.1686 | €/kWh |  | 10 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 78408228.1385
Existing fuel price for space heating | 0.0623 | €/kWh |  | 11 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 77624145.8571
Cost of operation and maintenance - Baseline scenario | 0 | € |  | 12 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 76847904.3985
Cost of operation and maintenance - Alternative scenario | 0 | € |  | 13 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 76079425.3545
Remaining value | 10% | % of capital cost |  | 14 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 75318631.101
Discount rate | 1% | % |  | 15 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 74565444.79
|  |  |  | 16 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 73819790.3421
NPV | -1013934471.3527 |  |  | 17 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 73081592.4387
IRR | -1.451% |  |  | 18 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 72350776.5143
B/C | 0.71726 |  |  | 19 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 71627268.7491
|  |  |  | 20 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 70910996.0616
Subsidy | 0% | % |  | 21 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 70201886.101
|  |  |  | 22 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 69499867.24
|  |  |  | 23 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 68804868.5676
|  |  |  | 24 | 0 | 0 | 0 | 86698122.735 |  |  | 86698122.735 | 68116819.8819
|  |  |  | 25 | 0 | 0 | 0 | 86698122.735 |  | 435000000 | 521698122.735 | 67435651.6831
|  |  |  | Total | 0 | 0 | 0 | 1909366255.945 | 3262500000 | 430693069.3069 | -1013934471.3527

## Sc1-SCBA
Available budget for fossil fuels | 4350000000 | € |  | Year | O&M Cost | O&M Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 12000 | € |  | 0 | [5 empty] | 2752321356.6674 | 2741596638.6555 |  | 10724718.012
Avoided cost from new fossil fuel boiler | 3000 | € |  | 1 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Number of influenced households | 362500 | number of households | 32.2% | 2 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Energy consumption for space cooling | 31.9761 | kWh |  | 3 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Energy consumption for space heating | 6311.7317 | kWh |  | 4 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
% of energy savings in space cooling | 60% | % |  | 5 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
% of energy savings in space heating | 60% | % |  | 6 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Energy savings in space cooling | 19.1857 | kWh |  | 7 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Energy savings in space heating | 3787.039 | kWh |  | 8 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Electricity price | 0.16057 | €/kWh |  | 9 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Existing fuel price for space heating | 0.059333 | €/kWh |  | 10 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Cost of operation and maintenance - Baseline scenario | 0 | € |  | 11 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Cost of operation and maintenance - Alternative scenario | 0 | € |  | 12 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Remaining value | 10% | % of capital cost |  | 13 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Discount rate | 1% | % |  | 14 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
|  |  |  | 15 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
|  |  |  | 16 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
NPV | 5206518126.6443 |  |  | 17 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
IRR | #NUM! | 20.562 |  | 18 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
B/C | 2.9325 |  |  | 19 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
|  | check it |  | 20 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Building value integration | 1 | 1: yes, 2: no |  | 21 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Employment method | 2 | 1: net, 2: gross |  | 22 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
Type of multiple benefits | 0 | 1-5 or 0 |  | 23 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
|  |  |  | 24 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  |  | 220522172.2967
|  |  |  | 25 | 0 | 0 | 0 | 82569640.7 | 0 | 137952531.5967 |  | 435000000 | 655522172.2967
Enviromental externalities |  |  |  | Total | 0 | 0 | 0 | 1818444053.281 | 0 | 5790471439.3165 | 2741596638.6555 | 430693069.3069 | 5206518126.6443
Data | external cost
€/MWh
Oil boiler-existing | 32
Oil boiler-new | 27.2
NG boiler-existing | 20
NG boiler-new | 17.9
Biomass boiler-existing | 13.2
Biomass boiler-new | 11.2
HP-existing | 23.5
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6 | 21.0364
Increase of building value
Capitalization rate | 3%
Total cost savings | 82569640.7 | €
Energy savings | 82569640.7 | €
O&M savings | 0 | €
Building value increase-total | 2752321356.6674 | €
multiple benefits
multiple benefits | external cost
Insulation + Windows + HVAC + Lighting | 5
Insulation + Windows | 4
Windows and/or HVAC and/or Lighting | 3
Insulation and/or HVAC and/or Lighting | 2
HVAC and/or Lighting | 1
Multiple benefits-Alternative | 0 | multiplier-type
Multiple benefits-Alternative | 10% | value
GDP integration (1 yes and 0 no) | 1
GDP | 0.079966 | €/kWh
Note on D21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: using python

## Sc2-CBA
Available budget for fossil fuels | 4350000000 | € |  | Year | O&M Cost | O&M Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 6000 | € |  | 0 |  |  |  |  | 2175000000 |  | -2175000000
Unitary investment cost with subsidy | 6000 | € |  | 1 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
Avoided cost from new fossil fuel boiler | 3000 | € |  | 2 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
Number of influenced households | 725000 | number of households | 64.4% | 3 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
Energy consumption for space cooling | 31.9761 | kWh |  | 4 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
Energy consumption for space heating | 6311.7317 | kWh |  | 5 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
Performance ratio existing boiler | 85% | % |  | 6 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
COP heat pump | 3 |  |  | 7 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
Electricity price | 0.1686 | €/kWh |  | 8 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
Existing fuel price for space heating | 0.0623 | €/kWh |  | 9 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
Cost of operation and maintenance - Baseline scenario | 0 | € |  | 10 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
Cost of operation and maintenance - Alternative scenario | 0 | € |  | 11 | 0 | 0 | 218595781.3721 | 285085140.8726 |  |  | 66489359.5005
Remaining value | 0% | % of capital cost |  | 12 | 0 | 0 | 218595781.3721 | 285085140.8726 |  | 0 | 66489359.5005
Discount rate | 1% | % |  | Total | 0 | 0 | 2460312454.7202 | 3208655347.0603 | 2175000000 | 0 | -1426657107.6599
NPV | -1426657107.6599
IRR | -12.83%
B/C | 0.69222
Subsidy | 0% | %

## Sc2-SCBA
Available budget for fossil fuels | 4350000000 | € |  | Year | O&M Cost | O&M Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 6000 | € |  | 0 | [5 empty] | 0 | 1827731092.437 |  | -1827731092.437
Avoided cost from new fossil fuel boiler | 3000 | € |  | 1 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
Number of influenced households | 725000 | number of households | 64.4% | 2 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
Energy consumption for space cooling | 31.9761 | kWh |  | 3 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
Energy consumption for space heating | 6311.7317 | kWh |  | 4 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
Performance ratio existing boiler | 85% | % |  | 5 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
COP heat pump | 3 |  |  | 6 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
Electricity price | 0.16057 | €/kWh |  | 7 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
Existing fuel price for space heating | 0.059333 | €/kWh |  | 8 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
Cost of operation and maintenance - Baseline scenario | 0 | € |  | 9 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
Cost of operation and maintenance - Alternative scenario | 0 | € |  | 10 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
Remaining value | 0% | % of capital cost |  | 11 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  |  | 368188096.411
Discount rate | 1% | % |  | 12 | 0 | 0 | 208186458.4496 | 271509657.9739 | 55232386.0406 | 360097282.9274 |  | 0 | 368188096.411
|  |  |  | Total | 0 | 0 | 2343154718.7812 | 3055862235.2955 | 621644783.9329 | 4052922817.3391 | 1827731092.437 | 0 | 2316254457.4836
NPV | 2316254457.4836
IRR | 17.12%
B/C | 1.4833
Building value integration | 2 | 1: yes, 2: no
Employment method | 2 | 1: net, 2: gross
Type of multiple benefits | 5 | 1-5 or 0
Enviromental externalities
Data | external cost
€/MWh
Oil boiler-existing | 32
Oil boiler-new | 27.2
NG boiler-existing | 20
NG boiler-new | 17.9
Biomass boiler-existing | 27.2
Biomass boiler-new | 13.2
HP-existing | 23.5
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6 | 22.4909
Increase of building value
Capitalization rate | 3%
Total cost savings | 63323199.5242 | €
Energy savings | 63323199.5242 | €
O&M savings | 0 | €
Building value increase-total | 2110773317.475 | €
multiple benefits
multiple benefits | external cost
Insulation + Windows + HVAC + Lighting | 5
Insulation + Windows | 4
Windows and/or HVAC and/or Lighting | 3
Insulation and/or HVAC and/or Lighting | 2
HVAC and/or Lighting | 1
Multiple benefits-Alternative | 1 | multiplier-type
Multiple benefits-Alternative | 10% | value
GDP integration (1 yes and 0 no) | 1
GDP | 0.079966 | €/kWh

## Sc3-CBA
Available budget for fossil fuels | 4350000000 | € |  | Year | O&M Cost | O&M Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Investment cost | 2000 | € |  | 0 |  |  |  |  | 4350000000 |  | -4350000000
Unitary investment cost with subsidy | 2000 | € |  | 1 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Installed capacity PV | 1 | kW |  | 2 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Unitary investment cost | 2000 | €/kW |  | 3 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Number of influenced households | 2175000 | number of households | 193.2% | 4 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Electricity consumption | 1625.0364 | kWh |  | 5 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Electricity price | 0.1686 | €/kWh |  | 6 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Cost reduction due to net-metering | 50% |  |  | 7 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Electricity price-net metering | 0.0843 | €/kWh |  | 8 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Cost of operation and maintenance - Baseline scenario | 0 | € |  | 9 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Cost of operation and maintenance - Alternative scenario | 100 | € |  | 10 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Remaining value | 0% | % of capital cost |  | 11 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Discount rate | 1% | % |  | 12 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
|  |  |  | 13 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
NPV | -2578138503.6959 |  |  | 14 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
IRR | -5.225% |  |  | 15 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
B/C | 0.71793 |  |  | 16 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
|  |  |  | 17 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
Subsidy | 0% | % |  | 18 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
|  |  |  | 19 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
|  |  |  | 20 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
|  |  |  | 21 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
|  |  |  | 22 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
|  |  |  | 23 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
|  |  |  | 24 | 217500000 | 0 | 0 | 297954478.0226 |  |  | 80454478.0226
|  |  |  | 25 | 217500000 | 0 | 0 | 297954478.0226 |  | 0 | 80454478.0226
|  |  |  | Total | 4790036364.8852 | 0 | 0 | 6561897861.1893 | 4350000000 | 0 | -2578138503.6959

## Sc3-SCBA
Available budget for fossil fuels | 4350000000 | € |  | Year | O&M Cost | O&M Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Investment cost | 2000 | € |  | 0 | [6 empty] | 3655462184.8739 |  | -3655462184.8739
Number of influenced households | 2175000 | number of households | 193.2% | 1 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Installed capacity PV | 1 | kW |  | 2 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Capacity factor PV | 14.49% | % |  | 3 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Unitary investment cost | 2000 | €/kW |  | 4 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Electricity consumption | 1625.0364 | kWh |  | 5 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Electricity price | 0.16057 | €/kWh |  | 6 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Cost reduction due to net-metering | 50% |  |  | 7 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Electricity consumption-net metering | 0.080286 | €/kWh |  | 8 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Cost of operation and maintenance - Baseline scenario | 0 | € |  | 9 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Cost of operation and maintenance - Alternative scenario | 100 | € |  | 10 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Remaining value | 0% | % of capital cost |  | 11 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Discount rate | 1% | % |  | 12 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
|  |  |  | 13 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
NPV | 822022156.3966 |  |  | 14 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
IRR | 2.715% |  |  | 15 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
B/C | 1.0981 |  |  | 16 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
|  |  |  | 17 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
|  |  |  | 18 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Enviromental externalities |  |  |  | 19 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Data | external cost |  |  | 20 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
| €/MWh |  |  | 21 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Oil boiler-existing | 32 |  |  | 22 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
Oil boiler-new | 27.2 |  |  | 23 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
NG boiler-existing | 20 |  |  | 24 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  |  | 203308027.3389
NG boiler-new | 17.9 |  |  | 25 | 175403225.8065 | 0 | 0 | 283766169.5453 | 38916444.15 | 133861527.75 |  | 0 | 203308027.3389
HP-existing | 23.5 |  |  | Total | 3862932552.3268 | 0 | 0 | 6249426534.466 | 857062908.83 | 2948053267.9613 | 3655462184.8739 | 0 | 822022156.3966
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6 | 23

## Sc4-CBA
Available budget for fossil fuels | 4350000000 | € |  | Year | O&M Cost | O&M Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost-Building envelope | 12000 | € |  | 0 |  |  |  |  | 3756818181.8182 |  | -3756818181.8182
Unitary investment cost-Heat pump | 6000 | € |  | 1 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Unitary investment cost-PV | 4000 | € |  | 2 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Unitary investment cost with subsidy | 22000 | € |  | 3 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Avoided cost from new fossil fuel boiler | 3000 | € |  | 4 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Installed capacity PV | 2 | kW |  | 5 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Unitary investment cost PV | 2000 | €/kW |  | 6 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Number of influenced households | 197727.2727 | number of households | 17.56% | 7 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Energy consumption for space cooling | 31.9761 | kWh |  | 8 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Energy consumption for space heating | 6311.7317 | kWh |  | 9 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Performance ratio existing boiler | 85% | % |  | 10 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
COP heat pump | 3 |  |  | 11 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
% of energy savings in space cooling | 60% | % |  | 12 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
% of energy savings in space heating | 60% | % |  | 13 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Energy savings in space cooling | 19.1857 | kWh |  | 14 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Energy savings in space heating | 3787.039 | kWh |  | 15 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Electricity consumption after interventions | 854.3547 | kWh |  | 16 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Electricity price | 0.1686 | €/kWh |  | 17 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Cost reduction due to net-metering | 50% |  |  | 18 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Electricity price-net metering | 0.0843 | €/kWh |  | 19 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Existing fuel price for space heating | 0.0623 | €/kWh |  | 20 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Cost of operation and maintenance - Baseline scenario | 0 | € |  | 21 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Cost of operation and maintenance - Alternative scenario | 100 | € |  | 22 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Remaining value | 10% | % of capital cost |  | 23 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
Discount rate | 1% | % |  | 24 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  |  | 49011275.7505
|  |  |  | 25 | 19772727.2727 | 0 | 23846812.5133 | 92630815.5365 |  | 435000000 | 484011275.7505
NPV | -2338235952.1772 |  |  | Total | 435457851.3532 | 0 | 525182064.9445 | 2040022873.2364 | 3756818181.8182 | 430693069.3069 | -2338235952.1772
IRR | -4.537%
B/C | 0.52374
Subsidy | 0% | %

## Sc4-SCBA
Available budget for fossil fuels | 4350000000 | € |  | Year | O&M Cost | O&M Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost-Building envelope | 12000 | € |  | 0 | [5 empty] | 1652094216.9073 | 3156990068.7548 |  | -1504895851.8474
Unitary investment cost-Heat pump | 6000 | € |  | 1 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Unitary investment cost-PV | 4000 | € |  | 2 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Avoided cost from new fossil fuel boiler | 3000 | € |  | 3 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Number of influenced households | 197727.2727 | number of households | 17.56% | 4 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Installed capacity PV | 2 | kW |  | 5 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Unitary investment cost PV | 2000 | €/kW |  | 6 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Capacity factor PV | 16.56% | % |  | 7 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Energy consumption for space cooling | 31.9761 | kWh |  | 8 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Energy consumption for space heating | 6311.7317 | kWh |  | 9 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Performance ratio existing boiler | 85% | % |  | 10 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
COP heat pump | 3 |  |  | 11 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
% of energy savings in space cooling | 60% | % |  | 12 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
% of energy savings in space heating | 60% | % |  | 13 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Energy savings in space cooling | 19.1857 | kWh |  | 14 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Energy savings in space heating | 3787.039 | kWh |  | 15 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Electricity consumption after interventions | 854.3547 | kWh |  | 16 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Electricity price | 0.16057 | €/kWh |  | 17 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Cost reduction due to net-metering | 50% |  |  | 18 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Electricity price-net metering | 0.080286 | €/kWh |  | 19 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Existing fuel price for space heating | 0.059333 | €/kWh |  | 20 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Cost of operation and maintenance - Baseline scenario | 0 | € |  | 21 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Cost of operation and maintenance - Alternative scenario | 100 | € |  | 22 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Remaining value | 10% | % of capital cost |  | 23 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
Discount rate | 1% | % |  | 24 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  |  | 177113592.7273
|  |  |  | 25 | 15945747.8006 | 0 | 22711250.0127 | 88219824.3205 | 14115119.8776 | 141665886.0977 |  | 435000000 | 612113592.7273
|  |  |  | Total | 351175686.5752 | 0 | 500173395.1852 | 1942878926.8918 | 310859482.7977 | 4772024083.9044 | 3156990068.7548 | 430693069.3069 | 2734903650.1857
NPV | 2734903650.1857
IRR | 11.16%
B/C | 1.6544
Building value integration | 1 | 1: yes, 2: no
Employment method | 2 | 1: net, 2: gross
Type of multiple benefits | 0 | 1-5 or 0
Enviromental externalities
Data | external cost
€/MWh
Oil boiler-existing | 32
Oil boiler-new | 27.2
NG boiler-existing | 20
NG boiler-new | 17.9
Biomass boiler-existing | 13.2
Biomass boiler-new | 11.2
HP-existing | 23.5
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6 | 21.0364
Increase of building value
Capitalization rate | 3%
Total cost savings | 49562826.5072 | €
Energy savings | 65508574.3078 | €
O&M savings | -15945747.8006 | €
Building value increase-total | 1652094216.9073 | €
multiple benefits
multiple benefits | external cost
Insulation + Windows + HVAC + Lighting | 5
Insulation + Windows | 4
Windows and/or HVAC and/or Lighting | 3
Insulation and/or HVAC and/or Lighting | 2
HVAC and/or Lighting | 1
Multiple benefits-Alternative | 0 | multiplier-type
Multiple benefits-Alternative | 10% | value
GDP integration (1 yes and 0 no) | 1
GDP | 0.079966 | €/kWh

## Sc0-CBA
Available budget for fossil fuels | 4350000000 | € |  | Year | O&M Cost | O&M Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 3000 | € |  | 0 |  |  |  |  | 4350000000 |  | -4350000000
Unitary investment cost with subsidy | 3000 | € |  | 1 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Avoided cost from new fossil fuel boiler | 0 | € |  | 2 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Number of influenced households | 1450000 | number of households | 128.8% | 3 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Unitary energy consumption for space cooling | 31.9761 | kWh |  | 4 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Unitary energy consumption for space heating | 6311.7317 | kWh |  | 5 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Performance ratio of energy efficient boiler | 95% | % |  | 6 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Performance ratio existing boiler | 85% | % |  | 7 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Energy consumption after the interventions | 5647.3389 | kWh |  | 8 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Electricity price | 0.1686 | €/kWh |  | 9 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Existing fuel price for space heating | 0.0623 | €/kWh |  | 10 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Cost of operation and maintenance - Baseline scenario | 0 | € |  | 11 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Cost of operation and maintenance - Alternative scenario | 0 | € |  | 12 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Remaining value | 10% | % of capital cost |  | 13 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
Discount rate | 1% | % |  | 14 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
|  |  |  | 15 | 0 | 0 | 510152357.351 | 570170281.7452 |  |  | 60017924.3942
NPV | -3517848326.3029 |  |  | Total | 0 | 0 | 7073289226.425 | 7905440900.1221 | 4350000000 | 0 | -3517848326.3029
IRR | -15.31%
B/C | 0.69205
Subsidy | 0% | %
GDP | 0.93 | million €/ktoe

## Sc0-SCBA
Available budget for fossil fuels | 4350000000 | € |  | Year | O&M Cost | O&M Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 3000 | € |  | 0 | [5 empty] | 0 | 3655462184.8739 |  | -3655462184.8739
Avoided cost from natural gas boilers | 0 | € |  | 1 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Number of affected households | 1450000 | number of households | 128.8% | 2 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Unitary energy consumption for space cooling | 31.9761 | kWh |  | 3 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Unitary energy consumption for space heating | 6311.7317 | kWh |  | 4 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Performance ratio of energy efficient boiler | 95% | % |  | 5 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Performance ratio existing boiler | 85% | % |  | 6 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Energy consumption after the interventions | 5647.3389 | kWh |  | 7 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Electricity price | 0.16057 | €/kWh |  | 8 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Existing fuel price for space heating | 0.059333 | €/kWh |  | 9 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Cost of operation and maintenance - Baseline scenario | 0 | € |  | 10 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Cost of operation and maintenance - Alternative scenario | 0 | € |  | 11 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Remaining value | 10% | % of capital cost |  | 12 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
Discount rate | 1% | % |  | 13 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
|  |  |  | 14 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
|  |  |  | 15 | 0 | 0 | 485859387.9533 | 543019315.9478 | 146576680.523 | 184183417.4187 |  |  | 94766664.8902
NPV | -2341517399.2948 |  |  | Total | 0 | 0 | 6736465929.9286 | 7528991333.4496 | 2032293373.2425 | 2553712755.3006 | 3655462184.8739 | 0 | -2341517399.2948
IRR | -10%
B/C | 0.81154
Building value integration | 2 | 1: yes, 2: no
Employment method | 2 | 1: net, 2: gross
Type of multiple benefits | 1 | 1-5 or 0
Enviromental externalities
Data | external cost
€/MWh
Oil boiler-existing | 32
Oil boiler-new | 27.2
NG boiler-existing | 20
NG boiler-new | 17.9
Biomass boiler-existing | 13.1
Biomass boiler-new | 11.2
HP-existing | 23.5
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6 | 21.0273
Increase of building value
Capitalization rate | 3%
Total cost savings | 57159927.9945 | €
Energy savings | 57159927.9945 | €
O&M savings | 0 | €
Building value increase-total | 1905330933.1502 | €
multiple benefits
multiple benefits | external cost
Insulation + Windows + HVAC + Lighting | 5
Insulation + Windows | 4
Windows and/or HVAC and/or Lighting | 3
Insulation and/or HVAC and/or Lighting | 2
HVAC and/or Lighting | 1
Multiple benefits-Alternative | 0.2 | multiplier-type
Multiple benefits-Alternative | 10% | value
GDP integration (1 yes and 0 no) | 0
GDP | 0 | €/kWh

## externalities
Τεχνολογία ενεργειακής αναβάθμισης | Επίπτωση στην απασχόλησης mil. €/mil. €)
| annual | total lifetime |  | 2 | Method
Ενεργειακά αποδοτικό σύστημα φωτισμού | 0.4592 | 0.015
Λέβητας πετρελαίου συμπύκνωσης σε κτίριο προ 1980 | 0.0714 | 0.186 |  | 1 | Building
Λέβητας πετρελαίου συμπύκνωσης σε κτίριο του 1981 - 2010 | 0.011 | 0.216
Λέβητας αερίου συμπύκνωσης σε κτίριο προ 1980 | 0.0807 | 0.25
Λέβητας αερίου συμπύκνωσης σε κτίριο του 1981 - 2010 | 0.015 | 0.3
Λέβητας βιομάζας σε κτίριο προ 1980 | 0.068 | 1.36
Λέβητας βιομάζας σε κτίριο του 1981 - 2010 | 0.085 | 1.71
Αντλία θερμότητας για θέρμανση σε κτίριο προ 1980 | 0.0553 | 0.213
Αντλία θερμότητας για θέρμανση σε κτίριο του 1981 - 2010 | 0.012 | 0.243
Αντλία θερμότητας για ψύξη σε κτίριο προ 1980 | -0.012 | -0.239
Αντλία θερμότητας για ψύξη σε κτίριο του 1981 - 2010 | -0.004 | -0.073
Ενεργειακά αποδοτική Κεντρική Κλιματιστική Μονάδα σε κτίριο προ 1980 | 0.014 | 0.213
Ενεργειακά αποδοτική Κεντρική Κλιματιστική Μονάδα σε κτίριο του 1981 - 2010 | 0.015 | 0.22
Ενεργειακά αποδοτικά παράθυρα σε κτίριο προ 1980 | 0.0345 | 0.405
Ενεργειακά αποδοτικά παράθυρα σε κτίριο του 1981 - 2010 | 0.015 | 0.441
Θερμομόνωση κελύφους σε κτίριο προ 1980 | 0.0287 | 0.146
Θερμομόνωση κελύφους σε κτίριο του 1981 - 2010 | 0.014 | 0.407
Σύστημα συμπαραγωγής φυσικού αερίου | -0.001 | -0.022
Ηλιοθερμικό σύστημα για παραγωγή ΖΝΧ | 0.11 | 0.522
Φωτοβολταικά | 0.027 | 0.119
Τεχνολογία | Καύσιμο | Κόστος εξωτερικοτήτων | Μονάδες
Αντλία θερμότητας | Ηλεκτρισμός | 14.2 | Euro / MWhth
Αποδοτικό Split unit - Αντλία θερμότητας | Ηλεκτρισμός | 14.2 | Euro / MWhth
Παλαιό Split unit - Αντλία θερμότητας | Ηλεκτρισμός | 23.5 | Euro / MWhth
Ηλεκτρικό καλοριφέρ | Ηλεκτρισμός | 47 | Euro / MWhth
Ηλεκτρικό θερμοσίφωνο | Ηλεκτρισμός | 48.5 | Euro / MWhth
Αποδοτικό Split unit - Αντλία θερμότητας | Ηλεκτρισμός | 13.1 | Euro / MWh cool
Παλαιό Split unit - Αντλία θερμότητας | Ηλεκτρισμός | 19.5 | Euro / MWh cool
Λέβητας | Φυσικό αέριο | 20 | Euro / MWhth
Συμπαραγωγή | Φυσικό αέριο | 11.7 | Euro / MWhth
Ενεργειακά αποδοτικός λέβητας | Φυσικό αέριο | 17.9 | Euro / MWhth
Λέβητας | Πετρέλαιο | 32 | Euro / MWhth
Συμπαραγωγή | Πετρέλαιο | 17.8 | Euro / MWhth
Ενεργειακά αποδοτικός λέβητας | Πετρέλαιο | 27.2 | Euro / MWhth
Λέβητας | LPG | 32 | Euro / MWhth
Συμπαραγωγή | LPG | 17.8 | Euro / MWhth
Ενεργειακά αποδοτικός λέβητας | LPG | 27.2 | Euro / MWhth
Ηλιακοί συλλέκτες | Ηλιακή ενέργεια | 9.6 | Euro / MWhth
Λέβητας | Στερεή βιομάζα | 13.2 | Euro / MWhth
Συμπαραγωγή | Στερεή βιομάζα | 4.3 | Euro / MWhth
Ενεργειακά αποδοτικός λέβητας | Στερεή βιομάζα | 11.2 | Euro / MWhth
Φωτοβολταικά | - | 14.1 | Euro / MWhel
Θερμομόνωση – EPS/XPS | - | 10.8 | Euro / m3
Θερμομόνωση – πετροβάμβακας | - | 7.6 | Euro / m3 | 10
Ανοίγματα - Αλουμινίου | - | 29.9 | Euro / m2
Ανοίγματα - PVC | - | 10.4 | Euro / m2
Ανοίγματα – Ξύλο | - | 0.2 | Euro / m2 | 23.03
Φωτισμός - LED | - | 0.44 | Euro / λαμπτήρα | 0.44
Σύστημα μηχανικού αερισμού | -
|  | NET | GROSS
Data | external cost | GVA | GVA |  |  | employment
| €/MWh | mil. €/mil.€ | mil. €/mil.€ |  |  | mil. €/mil.€
Oil boiler-existing | 32
Oil boiler-new | 27.2 | 0.012 | 0.0714 |  |  | 0.009
NG boiler-existing | 20
NG boiler-new | 17.9 | 0.0213 | 0.0807 |  |  | 0.012
HP-existing | 23.5
HP-new | 14.2 | 0.0277 | 0.0553 |  |  | 0.011
Electricity-current | 48.5
PV-new | 14.1 | 0.008 | 0.027 |  |  | 0.005
Solar-new | 9.6 | 0.024 | 0.11 |  |  | 0.026
Data | other units | mil. €/mil.€ | mil. €/mil.€ |  |  | mil. €/mil.€
Insulation-new | 10 | -0.0084 | 0.0287 |  |  | 0.005
Windows-new | 23 | 0.0248 | 0.0345 |  |  | 0.013
Lighting-new | 0.4 | -0.1505 | 0.4592 |  |  | 0.009

## lifetime
Indicative measures | Type | Lifetime (years)
Windows/glazing with low U value | Technical | 30
Insulation: Building envelope (cavity wall and solid insulation on wall loft/roof insulation and floor) | Technical | 25
Heat recovery systems | Technical | 20
Heat pumps: Air to air | Technical | 10
Heat pumps: Exhaust air to water | Technical | 15
Heat pumps: Ground source | Technical | 25
Energy efficient central air-conditioners and chillers | Technical | 17
Efficient ventilation systems | Technical | 15
Commercial refrigeration | Technical | 8
Energy efficient office appliances (e.g. desktop or laptop computers, printers, photocopiers, fax machines) | Technical | 3
Motion detection light controls switching off lights when nobody is present | Technical | 10
Energy efficient lighting systems | Technical | 12
Energy efficient lighting systems for public spaces (e.g. roads) | Technical | 15
Energy efficient heating boilers irrespective of fuel | Technical | 25
Connection to the district heating | Technical | 30