## CBA Tool
SOCIAL COST BENEFIT ANALYSIS TOOL

## Sc0-FA
Available budget for Natural Gas network expansion | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 0 | € | 0 |  |  |  |  | 1500000000 |  | -1500000000
Unitary investment cost with subsidy | 0 | € | 1 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Avoided cost from natural gas boiler | 0 | € | 2 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Number of influenced households | 500000 | nr of households | 3 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Unitary energy consumption for space cooling | 580 | kWh | 4 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Unitary energy consumption for space heating | 6500 | kWh | 5 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Degree of efficiency of natural gas boiler | 95% | % | 6 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Degree of efficiency of oil boiler | 80% | % | 7 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων-ΦΑ | 5473.6842 | kWh | 8 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
% of energy savings in space cooling | 0% | % | 9 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
% of energy savings in space heating | 0% | % | 10 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Energy savings in space cooling | 0 | kWh | 11 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Energy savings in space heating | 0 | kWh | 12 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Electricity price | 0.1827 | €/kWh | 13 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Levellized fuel price for space heating | 0.090494 | €/kWh | 14 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Natural gas price | 0.068 | €/kWh | 15 | 0 | 0 | 186105263.1579 | 294104521.0754 |  |  | 107999257.9175
Cost of operation and maintenance - Baseline scenario | 0 | € | Σύνολο | 0 | 0 | 2221712550.8863 | 3511000681.3252 | 1500000000 | 0 | -210711869.5611
Cost of operation and maintenance - Alternative scenario | 0 | €
Remaining value | 10% | % investment cost
Discount rate | 3% | %
NPV | -210711869.5611
IRR | 0.9777%
B/C | 0.94338
Subsidy | 0% | %

## Sc0-CBA
Available budget for Natural Gas network expansion | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 0 | € | 0 | [5 empty] | 0 | 1209677419.3548 |  | -1209677419.3548
Avoided cost from natural gas boilers | 0 | € | 1 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Number of affected households | 500000 | number | 2 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Unitary energy consumption for space cooling | 580 | kWh | 3 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Unitary energy consumption for space heating | 6500 | kWh | 4 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Degree of efficiency of natural gas boiler | 95% | % | 5 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Degree of efficiency of oil boiler | 80% | % | 6 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων-ΠΘ | 5473.6842 | kWh | 7 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
% of energy savings in space cooling | 0% | % | 8 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
% of energy savings in space heating | 0% | % | 9 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Energy savings in space cooling | 0 | kWh | 10 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Energy savings in space heating | 0 | kWh | 11 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Electricity price | 0.14465 | €/kWh | 12 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Fuel price | 0.049298 | €/kWh | 13 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Natural gas price | 0.06257 | €/kWh | 14 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Cost of operation and maintenance - Baseline scenario | 0 | € | 15 | 0 | 0 | 171243862.8331 | 160219718.7883 | 48989473.6842 | 76033047.7157 |  |  | 16019429.9867
Cost of operation and maintenance - Alternative scenario | 0 | € | Total | 0 | 0 | 2044298118.5106 | 1912692602.5162 | 584833156.7774 | 907677588.0799 | 1209677419.3548 | 0 | -1018438504.0468
Remaining value | 10% | % of capital cost
Discount rate | 3% | %
NPV | -1018438504.0468
IRR | -15.63%
B/C | 0.7347
Building value integration | 2 | 1: yes, 2: no
Employment method | 2 | 1: net, 2: gross
Type of multiple benefits | 1 | 1-5 or 0
Enviromental externalities
Data | external cost
€/MWh
Oil boiler-existing | 32
Oil boiler-new | 27.2
NG boiler-existing | 20
NG boiler-new | 17.9
HP-existing | 23.5
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6
Increase of building value
Capitalization rate | 3%
Total cost savings | -11024144.0448 | €
Energy savings | -11024144.0448 | €
O&M savings | 0 | €
Building value increase-total | -367471468.161 | €
multiple benefits
multiple benefits | external cost
Insulation + Windows + HVAC + Lighting | 5
Insulation + Windows | 4
Windows and/or HVAC and/or Lighting | 3
Insulation and/or HVAC and/or Lighting | 2
HVAC and/or Lighting | 1
Multiple benefits-Alternative | 0.2 | multiplier-type
Multiple benefits-Alternative | 10% | value

## Sc1-FA
Available budget for Natural Gas network expansion | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 18000 | € | 0 |  |  |  |  | 1166666666.6667 |  | -1166666666.6667
Unitary investment cost with subsidy | 18000 | € | 1 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Avoided cost from natural gas boiler | 4000 | € | 2 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Number of influenced households | 83333.3333 | number of households | 3 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Unitary energy consumption for space cooling | 580 | kWh | 4 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Unitary energy consumption for space heating | 6500 | kWh | 5 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Degree of efficiency of natural gas boiler | 95% | % | 6 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Degree of efficiency of oil boiler | 80% | % | 7 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων-ΠΘ | 6500 | kWh | 8 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
% of energy savings in space cooling | 60% | % | 9 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
% of energy savings in space heating | 60% | % | 10 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Energy savings in space cooling | 348 | kWh | 11 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Energy savings in space heating | 3900 | kWh | 12 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Electricity price | 0.1827 | €/kWh | 13 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Levellized fuel price for space heating | 0.090494 | €/kWh | 14 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Natural gas price | 0.068 | €/kWh | 15 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Cost of operation and maintenance - Baseline scenario | 0 | € | 16 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Cost of operation and maintenance - Alternative scenario | 0 | € | 17 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Remaining value | 10% | % of investment cost | 18 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Discount rate | 3% | % | 19 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
|  |  | 20 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
NPV | -490637204.6489 |  | 21 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
IRR | -0.9034% |  | 22 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
B/C | 0.64287 |  | 23 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
|  |  | 24 | 0 | 0 | 0 | 34708752.1075 |  |  | 34708752.1075
Subsidy | 0% | % | 25 | 0 | 0 | 0 | 34708752.1075 |  | 150000000 | 184708752.1075
|  |  | Total | 0 | 0 | 0 | 604388626.6285 | 1166666666.6667 | 145631067.9612 | -490637204.6489

## Sc1-CBA
Available budget for Natural Gas network expansion | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost with subsidy | 18000 | € | 0 | [5 empty] | 673894062.6277 | 940860215.0538 |  | -266966152.4261
Unitary investment cost | 4000 | € | 1 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Number of affected households | 83333.3333 | number of households | 2 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Unitary energy consumption for space cooling | 580 | kWh | 3 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Unitary energy consumption for space heating | 6500 | kWh | 4 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Degree of efficiency of natural gas boiler | 95% | % | 5 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Degree of efficiency of oil boiler | 80% | % | 6 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων-ΠΘ | 6500 | kWh | 7 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
% of energy savings in space cooling | 60% | % | 8 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
% of energy savings in space heating | 60% | % | 9 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Energy savings in space cooling | 348 | kWh | 10 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Energy savings in space heating | 3900 | kWh | 11 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Electricity price | 0.14465 | €/kWh | 12 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Fuel price | 0.049298 | €/kWh | 13 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Natural gas price | 0.06257 | €/kWh | 14 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Cost of operation and maintenance - Baseline scenario | 0 | € | 15 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Cost of operation and maintenance - Alternative scenario | 0 | € | 16 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Remaining value | 10% | % of investment cost | 17 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Discount rate | 3% | % | 18 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
|  |  | 19 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
|  |  | 20 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
NPV | 300977717.2682 |  | 21 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
IRR | 10.25% |  | 22 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
B/C | 1.3985 |  | 23 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
|  |  | 24 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  |  | 28501626.6504
Building value integration | 1 | 1: yes, 2: no | 25 | 0 | 0 | 0 | 20216821.8788 | 0 | 8284804.7716 |  | 150000000 | 178501626.6504
Employment method | 2 | 1: net, 2: gross | Total | 0 | 0 | 0 | 352038505.2243 | 0 | 818158591.7084 | 940860215.0538 | 145631067.9612 | 300977717.2682
Type of multiple benefits | 0 | 1-5 or 0
Enviromental externalities
Data | external cost
€/MWh
Oil boiler-existing | 32
Oil boiler-new | 27.2
NG boiler-existing | 20
NG boiler-new | 17.9
HP-existing | 23.5
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6
Increase of building value
Capitalization rate | 3%
Total cost savings | 20216821.8788 | €
Energy savings | 20216821.8788 | €
O&M savings | 0 | €
Building value increase-total | 673894062.6277 | €
multiple benefits
multiple benefits | external cost
Insulation + Windows + HVAC + Lighting | 5
Insulation + Windows | 4
Windows and/or HVAC and/or Lighting | 3
Insulation and/or HVAC and/or Lighting | 2
HVAC and/or Lighting | 1
Multiple benefits-Alternative | 0 | multiplier-type
Multiple benefits-Alternative | 10% | value

## Sc2-FA
Available budget for Natural Gas network expansion | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 6000 | € | 0 |  |  |  |  | 500000000 |  | -500000000
Unitary investment cost with subsidy | 6000 | € | 1 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
Avoided cost from natural gas boiler | 4000 | € | 2 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
Number of affected households | 250000 | number of households | 3 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
Unitary energy consumption for space cooling | 580 | kWh | 4 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
Unitary energy consumption for space heating | 6500 | kWh | 5 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
Degree of efficiency of natural gas boiler | 95% | % | 6 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
Degree of efficiency of oil boiler | 80% | % | 7 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων-ΠΘ | 6500 | kWh | 8 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
Degree of efficiency of heat pump | 4.5 |  | 9 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
% of energy savings in space cooling | 0% | % | 10 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
% of energy savings in space heating | 0% | % | 11 | 0 | 0 | 52780000 | 147052260.5377 |  |  | 94272260.5377
Energy savings in space cooling | 0 | kWh | 12 | 0 | 0 | 52780000 | 147052260.5377 |  | 0 | 94272260.5377
Energy savings in space heating | 0 | kWh | Total | 0 | 0 | 525372330.7805 | 1463758788.6553 | 500000000 | 0 | 438386457.8748
Electricity price | 0.1827 | €/kWh
Levellized fuel price for space heating | 0.090494 | €/kWh
Natural gas price | 0.068 | €/kWh
Cost of operation and maintenance - Baseline scenario | 0 | €
Cost of operation and maintenance - Alternative scenario | 0 | €
Remaining value | 0% | % of investment costs
Discount rate | 3% | %
NPV | 438386457.8748
IRR | 15.51%
B/C | 1.4275
Subsidy | 0% | %

## Sc2-CBA
Available budget for Natural Gas network expansion | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost | 6000 | € | 0 | [5 empty] | 0 | 403225806.4516 |  | -403225806.4516
Avoided cost from natural gas boiler | 4000 | € | 1 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
Number of affected households | 250000 | number of households | 2 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
Unitary energy consumption for space cooling | 580 | kWh | 3 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
Unitary energy consumption for space heating | 6500 | kWh | 4 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
Degree of efficiency of natural gas boiler | 95% | % | 5 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
Degree of efficiency of oil boiler | 80% | % | 6 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
Degree of efficiency of heat pump | 4.5 |  | 7 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων-ΠΘ | 6500 | kWh | 8 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
% of energy savings in space cooling | 0% | % | 9 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
% of energy savings in space heating | 0% | % | 10 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
Energy savings in space cooling | 0 | kWh | 11 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  |  | 58645047.1066
Energy savings in space heating | 0 | kWh | 12 | 0 | 0 | 41787777.7778 | 80109859.3941 | 18460000 | 38782965.4902 |  | 0 | 58645047.1066
Electricity price | 0.14465 | €/kWh | Total | 0 | 0 | 415955706.8823 | 797413860.3335 | 183750913.7213 | 386045793.3717 | 403225806.4516 | 0 | 180527226.65
Fuel price | 0.049298 | €/kWh
Natural gas price | 0.06257 | €/kWh
Cost of operation and maintenance - Baseline scenario | 0 | €
Cost of operation and maintenance - Alternative scenario | 0 | €
Remaining value | 0% | % of capital cost
Discount rate | 3% | %
NPV | 180527226.65
IRR | 9.816%
B/C | 1.18
Building value integration | 2 | 1: yes, 2: no
Employment method | 2 | 1: net, 2: gross
Type of multiple benefits | 1 | 1-5 or 0
Enviromental externalities
Data | external cost
€/MWh
Oil boiler-existing | 32
Oil boiler-new | 27.2
NG boiler-existing | 20
NG boiler-new | 17.9
HP-existing | 23.5
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6
Increase of building value
Capitalization rate | 3%
Total cost savings | 38322081.6164 | €
Energy savings | 38322081.6164 | €
O&M savings | 0 | €
Building value increase-total | 1277402720.5457 | €
multiple benefits
multiple benefits | external cost
Insulation + Windows + HVAC + Lighting | 5
Insulation + Windows | 4
Windows and/or HVAC and/or Lighting | 3
Insulation and/or HVAC and/or Lighting | 2
HVAC and/or Lighting | 1
Multiple benefits-Alternative | 0.2 | multiplier-type
Multiple benefits-Alternative | 10% | value
0.02

## Sc3-FA
Available budget for Natural Gas network expansion | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Unitary investment cost for PV | 7200 | € | 0 |  |  |  |  | 1500000000 |  | -1500000000
Unitary investment cost for PV with subsidy | 7200 | € | 1 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Installed capacity - PV | 3 | kW | 2 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Cost of installation - PV | 2400 | €/kW | 3 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Number of affected households | 208333.3333 | αριθμός νοικοκυριών | 4 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Electricity consumption | 4000 | kWh | 5 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Electricity price | 0.1827 | €/kWh | 6 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Electricity price - net metering | 0.09 | €/kWh | 7 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Cost of operation and maintenance - Baseline scenario | 0 | € | 8 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Cost of operation and maintenance - Alternative scenario | 100 | € | 9 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Remaining value | 0% | % κόστους επένδυσης | 10 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Discount rate | 3% | % | 11 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
|  |  | 12 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
NPV | -517608251.0837 |  | 13 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
IRR | -0.4682% |  | 14 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
B/C | 0.72213 |  | 15 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
|  |  | 16 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
Subsidy | 0% | % | 17 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
|  |  | 18 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
|  |  | 19 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
|  |  | 20 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
|  |  | 21 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
|  |  | 22 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
|  |  | 23 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
|  |  | 24 | 20833333.3333 | 0 | 0 | 77250000 |  |  | 56416666.6667
|  |  | 25 | 20833333.3333 | 0 | 0 | 77250000 |  | 0 | 56416666.6667
|  |  | Total | 362773910.235 | 0 | 0 | 1345165659.1512 | 1500000000 | 0 | -517608251.0837

## Sc3-CBA
Available budget for Natural Gas network expansion | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Total cost of installation | 7200 | € | 0 | [6 empty] | 1209677419.3548 |  | -1209677419.3548
Number of affected households | 208333.3333 | number | 1 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Installed capacity - PV | 3 | kW | 2 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Degree of use - PV | 15% | % | 3 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Cost of installation - PV | 2400 | €/kW | 4 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Electricity consumption | 4000 | kWh | 5 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Electricity price | 0.14465 | €/kWh | 6 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Electricity price - net metering | 0.072815 | €/kWh | 7 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Cost of operation and maintenance - Baseline scenario | 0 | € | 8 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Cost of operation and maintenance - Alternative scenario | 100 | € | 9 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Remaining value | 0% | % of capital cost | 10 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Discount rate | 3% | % | 11 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
|  |  | 12 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
NPV | 32103327.951 |  | 13 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
IRR | 3.237% |  | 14 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
B/C | 1.0188 |  | 15 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
|  |  | 16 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
|  |  | 17 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Enviromental externalities |  |  | 18 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Data | external cost |  | 19 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
| €/MWh |  | 20 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Oil boiler-existing | 32 |  | 21 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
Oil boiler-new | 27.2 |  | 22 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
NG boiler-existing | 20 |  | 23 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
NG boiler-new | 17.9 |  | 24 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  |  | 71312824.6152
HP-existing | 23.5 |  | 25 | 16801075.2688 | 0 | 0 | 59862899.884 | 11579625 | 39830625 |  | 0 | 71312824.6152
HP-new | 14.2 |  | Total | 292559605.0282 | 0 | 0 | 1042401516.9078 | 201637720.3346 | 693576555.7609 | 1209677419.3548 | 0 | 32103327.951
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6

## Sc3-FA (2) (hidden)
Available budget for Natural Gas network expansion | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Μοναδιαίο κόστος επένδυσης-Φωτοβολταϊκό | 1500000000 | € | 0 |  |  |  |  | 1500000000 |  | -1500000000
Μοναδιαίο κόστος επένδυσης με επιχορήγηση | 1500000000 | € | 1 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Εγκατεστημένη ισχύς-Φωτοβολταϊκό | 2000 | ΜW | 2 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Κόστος εγκατάστασης-Φωτοβολταϊκό | 750 | €/kW | 3 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Αριθμός επηρεαζόμενων νοικοκυριών | 744600 | αριθμός νοικοκυριών | 4 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Κατανάλωση ηλεκτρικής ενέργειας | 4000 | kWh | 5 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Τιμή ηλεκτρικής ενέργειας | 0.1827 | €/kWh | 6 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Τιμή ηλεκτρικής ενέργειας-Ενεργειακός συμψηφισμός | 0.12 | €/kWh | 7 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Κόστος λειτουργίας και συντήρησης-Σενάριο αναφοράς | 0 | € | 8 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Κόστος λειτουργίας και συντήρησης-Εναλλακτικό σενάριο | 1.5% | % κόστους επένδυσης | 9 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Υπολειπόμενη αξία | 0% | % κόστους επένδυσης | 10 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Επιτόκιο προεξόφλησης | 3% | % | 11 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
|  |  | 12 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
NPV | 1360034283.4944 |  | 13 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
IRR | 9.921% |  | 14 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
B/C | 1.7189 |  | 15 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
|  |  | 16 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
Subsidy | 0% | % | 17 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
|  |  | 18 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
|  |  | 19 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
|  |  | 20 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
|  |  | 21 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
|  |  | 22 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
|  |  | 23 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
|  |  | 24 | 22500000 | 0 | 0 | 186745680 |  |  | 164245680
|  |  | 25 | 22500000 | 0 | 0 | 186745680 |  | 0 | 164245680
|  |  | Total | 391795823.0538 | 0 | 0 | 3251830106.5481 | 1500000000 | 0 | 1360034283.4944

## Sc3-CBA (2) (hidden)
Διαθέσιμος προϋπολογισμός για επέκταση δικτύου ΦΑ | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Συνολικό κόστος εγκατάστασης | 1500000 | € | 0 | [6 empty] | 1209677419.3548 |  | -1209677419.3548
Αριθμός επηρεαζόμενων νοικοκυριών | 744600 | number | 1 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Εγκατεστημένη ισχύς-Φωτοβολταϊκό | 2000 | MW | 2 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Συντελεστής χρησιμοποίησης-Φωτοβολταϊκό | 17% | % | 3 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Κόστος εγκατάστασης-Φωτοβολταϊκό | 750 | €/kW | 4 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Κατανάλωση ηλεκτρικής ενέργειας | 4000 | kWh | 5 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Τιμή ηλεκτρικής ενέργειας | 0.14465 | €/kWh | 6 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Τιμή ηλεκτρικής ενέργειας-Ενεργειακός συμψηφισμός | 0.097086 | €/kWh | 7 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Κόστος λειτουργίας και συντήρησης-Σενάριο αναφοράς | 0 | € | 8 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Κόστος λειτουργίας και συντήρησης-Εναλλακτικό σενάριο | 100 | € | 9 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Υπολειπόμενη αξία | 0% | % of capital cost | 10 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Επιτόκιο προεξόφλησης | 3% | % | 11 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
|  |  | 12 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
NPV | 1995614840.2325 |  | 13 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
IRR | 14.73% |  | 14 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
B/C | 1.6682 |  | 15 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
|  |  | 16 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
|  |  | 17 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Enviromental externalities |  |  | 18 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Data | external cost |  | 19 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
| €/MWh |  | 20 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Oil boiler-existing | 32 |  | 21 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
Oil boiler-new | 27.2 |  | 22 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
NG boiler-existing | 20 |  | 23 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
NG boiler-new | 17.9 |  | 24 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  |  | 184073110.5263
HP-existing | 23.5 |  | 25 | 60048387.0968 | 0 | 0 | 141664537.6231 | 41995440 | 144452400 |  | 0 | 184073110.5263
HP-new | 14.2 |  | Total | 1045631433.1392 | 0 | 0 | 2466825516.2472 | 731272799.0802 | 2515370975.5596 | 1209677419.3548 | 0 | 1995614840.2325
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6

## Sc4-FA (hidden)
Διαθέσιμος προϋπολογισμός για επέκταση δικτύου ΦΑ | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Μοναδιαίο κόστος επένδυσης-Κέλυφος | 18000 | € | 0 |  |  |  |  | 1269230769.2308 |  | -1269230769.2308
Μοναδιαίο κόστος επένδυσης-Αντλία θερμότητας | 8000 | € | 1 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Μοναδιαίο κόστος επένδυσης με επιχορήγηση | 26000 | € | 2 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Αποφευχθέν κόστος από εγκατάσταση λεβήτων ΦΑ | 4000 | € | 3 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Αριθμός επηρεαζόμενων νοικοκυριών | 57692.3077 | αριθμός νοικοκυριών | 4 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Μοναδιαία κατανάλωση ενέργειας για ψύξη χώρων | 580 | kWh | 5 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων | 6500 | kWh | 6 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Βαθμός απόδοσης λέβητα ΦΑ | 95% | % | 7 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Βαθμός απόδοσης λέβητα πετρελαίου θέρμανσης | 80% | % | 8 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων-ΠΘ | 6500 | kWh | 9 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Βαθμός απόδοσης αντλίας θερμότητας | 4.5 |  | 10 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Ποσοστό εξοικονόμησης ενέργειας για ψύξη χώρων | 60% | % | 11 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Ποσοστό εξοικονόμησης ενέργειας για θέρμανση χώρων | 60% | % | 12 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Εξοικονόμηση ενέργειας για ψύξη χώρων | 348 | kWh | 13 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Εξοικονόμηση ενέργειας για θέρμανση χώρων | 3900 | kWh | 14 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Τιμή ηλεκτρικής ενέργειας | 0.1827 | €/kWh | 15 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Σταθμισμένη τιμή καυσίμου για θέρμανση χώρων | 0.090494 | €/kWh | 16 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Τιμή ΦΑ | 0.068 | €/kWh | 17 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Κόστος λειτουργίας και συντήρησης-Σενάριο αναφοράς | 0 | € | 18 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Κόστος λειτουργίας και συντήρησης-Εναλλακτικό σενάριο | 0 | € | 19 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Υπολειπόμενη αξία | 10% | % κόστους επένδυσης | 20 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
Επιτόκιο προεξόφλησης | 3% | % | 21 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
|  |  | 22 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
NPV | -627636872.7049 |  | 23 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
IRR | -1.742% |  | 24 | 0 | 0 | 4872000 | 37603190.8933 |  |  | 32731190.8933
B/C | 0.59112 |  | 25 | 0 | 0 | 4872000 | 37603190.8933 |  | 150000000 | 182731190.8933
|  |  | Total | 0 | 0 | 84836855.5519 | 654789916.6886 | 1269230769.2308 | 145631067.9612 | -627636872.7049
Subsidy | 0% | %

## Sc4-CBA (hidden)
Διαθέσιμος προϋπολογισμός για επέκταση δικτύου ΦΑ | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Μοναδιαίο κόστος επένδυσης-Κέλυφος | 18000 | € | 0 | [5 empty] | 584456140.6387 | 1023573200.9926 |  | -439117060.3538
Μοναδιαίο κόστος επένδυσης-Αντλία θερμότητας | 8000 | € | 1 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Αποφευχθέν κόστος από εγκατάσταση λεβήτων ΦΑ | 4000 | € | 2 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Αριθμός επηρεαζόμενων νοικοκυριών | 57692.3077 | number | 3 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Μοναδιαία κατανάλωση ενέργειας για ψύξη χώρων | 580 | kWh | 4 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων | 6500 | kWh | 5 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Βαθμός απόδοσης λέβητα ΦΑ | 95% | % | 6 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Βαθμός απόδοσης λέβητα πετρελαίου θέρμανσης | 80% | % | 7 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων-ΠΘ | 6500 | kWh | 8 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Βαθμός απόδοσης αντλίας θερμότητας | 4.5 |  | 9 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Ποσοστό εξοικονόμησης ενέργειας για ψύξη χώρων | 60% | % | 10 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Ποσοστό εξοικονόμησης ενέργειας για θέρμανση χώρων | 60% | % | 11 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Εξοικονόμηση ενέργειας για ψύξη χώρων | 348 | kWh | 12 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Εξοικονόμηση ενέργειας για θέρμανση χώρων | 3900 | kWh | 13 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Τιμή ηλεκτρικής ενέργειας | 0.14465 | €/kWh | 14 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Σταθμισμένη τιμή καυσίμου για θέρμανση χώρων | 0.049298 | €/kWh | 15 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Τιμή ΦΑ | 0.06257 | €/kWh | 16 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Κόστος λειτουργίας και συντήρησης-Σενάριο αναφοράς | 0 | € | 17 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Κόστος λειτουργίας και συντήρησης-Εναλλακτικό σενάριο | 0 | € | 18 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Υπολειπόμενη αξία | 10% | % of capital cost | 19 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
Επιτόκιο προεξόφλησης | 3% | % | 20 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
|  |  | 21 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
|  |  | 22 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
NPV | 69150371.5809 |  | 23 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
IRR | 4.164% |  | 24 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  |  | 25074535.8787
B/C | 1.1278 |  | 25 | 0 | 0 | 3857333.3333 | 21391017.5525 | 1704000 | 9244851.6595 |  | 150000000 | 175074535.8787
|  |  | Total | 0 | 0 | 67168315.0278 | 372484947.9083 | 29672003.6659 | 745438107.9697 | 1023573200.9926 | 145631067.9612 | 69150371.5809
Building value integration | 1 | 1: yes, 2: no
Employment method | 2 | 1: net, 2: gross
Type of multiple benefits | 0 | 1-5 or 0
Enviromental externalities
Data | external cost
€/MWh
Oil boiler-existing | 32
Oil boiler-new | 27.2
NG boiler-existing | 20
NG boiler-new | 17.9
HP-existing | 23.5
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6
Increase of building value
Capitalization rate | 3%
Total cost savings | 17533684.2192 | €
Energy savings | 17533684.2192 | €
O&M savings | 0 | €
Building value increase-total | 584456140.6387 | €
multiple benefits
multiple benefits | external cost
Insulation + Windows + HVAC + Lighting | 5
Insulation + Windows | 4
Windows and/or HVAC and/or Lighting | 3
Insulation and/or HVAC and/or Lighting | 2
HVAC and/or Lighting | 1
Multiple benefits-Alternative | 0 | multiplier-type
Multiple benefits-Alternative | 10% | value

## Sc5-FA (hidden)
Διαθέσιμος προϋπολογισμός για επέκταση δικτύου ΦΑ | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | Investment cost | Remaining value | Net cash flow
Μοναδιαίο κόστος επένδυσης-Κέλυφος | 18000 | € | 0 |  |  |  |  | 1325581395.3488 |  | -1325581395.3488
Μοναδιαίο κόστος επένδυσης-Αντλία θερμότητας | 8000 | € | 1 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Μοναδιαίο κόστος επένδυσης-Φωτοβολταϊκό | 8400 | € | 2 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Μοναδιαίο κόστος επένδυσης με επιχορήγηση | 34400 | € | 3 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Αποφευχθέν κόστος από εγκατάσταση λεβήτων ΦΑ | 4000 | € | 4 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Εγκατεστημένη ισχύς-Φωτοβολταϊκό | 4 | kW | 5 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Κόστος εγκατάστασης-Φωτοβολταϊκό | 2100 | €/kW | 6 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Αριθμός επηρεαζόμενων νοικοκυριών | 43604.6512 | αριθμός νοικοκυριών | 7 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Μοναδιαία κατανάλωση ενέργειας για ψύξη χώρων | 580 | kWh | 8 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων | 6500 | kWh | 9 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Βαθμός απόδοσης λέβητα ΦΑ | 95% | % | 10 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Βαθμός απόδοσης λέβητα πετρελαίου θέρμανσης | 80% | % | 11 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων-ΠΘ | 6500 | kWh | 12 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Βαθμός απόδοσης αντλίας θερμότητας | 4.5 |  | 13 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Ποσοστό εξοικονόμησης ενέργειας για ψύξη χώρων | 60% | % | 14 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Ποσοστό εξοικονόμησης ενέργειας για θέρμανση χώρων | 60% | % | 15 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Εξοικονόμηση ενέργειας για ψύξη χώρων | 348 | kWh | 16 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Εξοικονόμηση ενέργειας για θέρμανση χώρων | 3900 | kWh | 17 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Κατανάλωση ηλεκτρικής ενέργειας μετά τις παρεμβάσεις | 4809.7778 | kWh | 18 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Τιμή ηλεκτρικής ενέργειας | 0.1827 | €/kWh | 19 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Τιμή ηλεκτρικής ενέργειας-Ενεργειακός συμψηφισμός | 0.095 | €/kWh | 20 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Σταθμισμένη τιμή καυσίμου για θέρμανση χώρων | 0.090494 | €/kWh | 21 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Τιμή ΦΑ | 0.068 | €/kWh | 22 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Κόστος λειτουργίας και συντήρησης-Σενάριο αναφοράς | 0 | € | 23 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Κόστος λειτουργίας και συντήρησης-Εναλλακτικό σενάριο | 100 | € | 24 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  |  | 38771431.1015
Υπολειπόμενη αξία | 10% | % κόστους επένδυσης | 25 | 4360465.1163 | 0 | 3682325.5814 | 46814221.7992 |  | 150000000 | 188771431.1015
Επιτόκιο προεξόφλησης | 3% | % | Total | 75929423.0724 | 0 | 64120879.1962 | 815182958.2419 | 1325581395.3488 | 145631067.9612 | -578807903.9864
NPV | -578807903.9864
IRR | -1.125%
B/C | 0.65556
Subsidy | 0% | %

## Sc5-CBA (hidden)
Διαθέσιμος προϋπολογισμός για επέκταση δικτύου ΦΑ | 1500000000 | € | Year | Cost | Benefit | Fuel cost | Fuel benefit | External cost | External benefit | Investment cost | Remaining value | Net cash flow
Μοναδιαίο κόστος επένδυσης-Κέλυφος | 18000 | € | 0 | [5 empty] | 798441813.3651 | 1069017254.3136 |  | -270575440.9485
Μοναδιαίο κόστος επένδυσης-Αντλία θερμότητας | 8000 | € | 1 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Μοναδιαίο κόστος επένδυσης-Φωτοβολταϊκό | 8400 | € | 2 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Αποφευχθέν κόστος από εγκατάσταση λεβήτων ΦΑ | 4000 | € | 3 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Αριθμός επηρεαζόμενων νοικοκυριών | 43604.6512 | number | 4 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Εγκατεστημένη ισχύς-Φωτοβολταϊκό | 4 | kW | 5 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Κόστος εγκατάστασης-Φωτοβολταϊκό | 2100 | €/kW | 6 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Συντελεστής χρησιμοποίησης-Φωτοβολταϊκό | 15% | % | 7 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Μοναδιαία κατανάλωση ενέργειας για ψύξη χώρων | 580 | kWh | 8 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων | 6500 | kWh | 9 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Βαθμός απόδοσης λέβητα ΦΑ | 95% | % | 10 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Βαθμός απόδοσης λέβητα πετρελαίου θέρμανσης | 80% | % | 11 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Μοναδιαία κατανάλωση ενέργειας για θέρμανση χώρων-ΠΘ | 6500 | kWh | 12 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Βαθμός απόδοσης αντλίας θερμότητας | 4.5 |  | 13 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Ποσοστό εξοικονόμησης ενέργειας για ψύξη χώρων | 60% | % | 14 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Ποσοστό εξοικονόμησης ενέργειας για θέρμανση χώρων | 60% | % | 15 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Εξοικονόμηση ενέργειας για ψύξη χώρων | 348 | kWh | 16 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Εξοικονόμηση ενέργειας για θέρμανση χώρων | 3900 | kWh | 17 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Κατανάλωση ηλεκτρικής ενέργειας μετά τις παρεμβάσεις | 4809.7778 | kWh | 18 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Τιμή ηλεκτρικής ενέργειας | 0.14465 | €/kWh | 19 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Τιμή ηλεκτρικής ενέργειας-Ενεργειακός συμψηφισμός | 0.07686 | €/kWh | 20 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Σταθμισμένη τιμή καυσίμου για θέρμανση χώρων | 0.049298 | €/kWh | 21 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Τιμή ΦΑ | 0.06257 | €/kWh | 22 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Κόστος λειτουργίας και συντήρησης-Σενάριο αναφοράς | 0 | € | 23 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Κόστος λειτουργίας και συντήρησης-Εναλλακτικό σενάριο | 100 | € | 24 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  |  | 37536735.3064
Υπολειπόμενη αξία | 10% | % of capital cost | 25 | 3516504.126 | 0 | 2915426.3566 | 30385184.8836 | 4519430.2326 | 18102911.138 |  | 150000000 | 187536735.3064
Επιτόκιο προεξόφλησης | 3% | % | Total | 61233405.7036 | 0 | 50766749.7303 | 529101712.0045 | 78697506.12 | 1113670478.6531 | 1069017254.3136 | 145631067.9612 | 454698110.1794
NPV | 454698110.1794
IRR | 13.61%
B/C | 1.4197
Building value integration | 1 | 1: yes, 2: no
Employment method | 2 | 1: net, 2: gross
Type of multiple benefits | 0 | 1-5 or 0
Enviromental externalities
Data | external cost
€/MWh
Oil boiler-existing | 32
Oil boiler-new | 27.2
NG boiler-existing | 20
NG boiler-new | 17.9
HP-existing | 23.5
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6
Increase of building value
Capitalization rate | 3%
Total cost savings | 23953254.401 | €
Energy savings | 27469758.527 | €
O&M savings | -3516504.126 | €
Building value increase-total | 798441813.3651 | €
multiple benefits
multiple benefits | external cost
Insulation + Windows + HVAC + Lighting | 5
Insulation + Windows | 4
Windows and/or HVAC and/or Lighting | 3
Insulation and/or HVAC and/or Lighting | 2
HVAC and/or Lighting | 1
Multiple benefits-Alternative | 0 | multiplier-type
Multiple benefits-Alternative | 10% | value

## NG prices
Gas prices for household consumers - bi-annual data (from 2007 onwards) [nrg_pc_202]
Last update | 2022-04-01 15:31
Extracted on | 2022-04-03 11:40
Source of data | Eurostat
PRODUCT | Natural gas
GEO | Greece
UNIT | Kilowatt-hour
CONSOM | Band D1 : Consumption < 20 GJ
CURRENCY | Euro
TAX/TIME | 2020S1 | 2020S2 | 2021S1 | 2021S2 | avg
Excluding taxes and levies | 0.0555 | 0.0694 | 0.0507 |  | 0.0507
Excluding VAT and other recoverable taxes and levies | 0.057 | 0.0709 | 0.0521 |  | 0.0521
All taxes and levies included | 0.0604 | 0.0751 | 0.0551 |  | 0.0551
|  | 92.41% | 92.01%
Special value:
: | not available
PRODUCT | Natural gas
GEO | Greece
UNIT | Kilowatt-hour
CONSOM | Band D2 : 20 GJ < Consumption < 200 GJ
CURRENCY | Euro
TAX/TIME | 2020S1 | 2020S2 | 2021S1 | 2021S2
Excluding taxes and levies | 0.0441 | 0.0475 | 0.0411 | :
Excluding VAT and other recoverable taxes and levies | 0.0456 | 0.0489 | 0.0426 | :
All taxes and levies included | 0.0483 | 0.0517 | 0.0449 | :
Special value:
: | not available
PRODUCT | Natural gas
GEO | Greece
UNIT | Kilowatt-hour
CONSOM | Band D3 : Consumption > 200 GJ
CURRENCY | Euro
TAX/TIME | 2020S1 | 2020S2 | 2021S1 | 2021S2
Excluding taxes and levies | 0.0438 | 0.0451 | 0.0435 | :
Excluding VAT and other recoverable taxes and levies | 0.0455 | 0.0466 | 0.045 | :
All taxes and levies included | 0.0482 | 0.0493 | 0.0476 | :
Special value:
: | not available

## Ele prices
Electricity prices for household consumers - bi-annual data (from 2007 onwards) [nrg_pc_204]
Last update | 2022-04-01 15:11
Extracted on | 2022-04-03 11:41
Source of data | Eurostat
PRODUCT | Electrical energy
CONSOM | Band DA : Consumption < 1 000 kWh
UNIT | Kilowatt-hour
GEO | Greece
CURRENCY | Euro
TAX/TIME | 2020S1 | 2020S2 | 2021S1 | 2021S2
Excluding taxes and levies | 0.1694 | 0.1722 | 0.1989 | 0.197
Excluding VAT and other recoverable taxes and levies | 0.1965 | 0.1991 | 0.2261 | 0.2247
All taxes and levies included | 0.2082 | 0.2109 | 0.2397 | 0.2381
Special value:
: | not available
PRODUCT | Electrical energy
CONSOM | Band DB : 1 000 kWh < Consumption < 2 500 kWh
UNIT | Kilowatt-hour
GEO | Greece
CURRENCY | Euro
TAX/TIME | 2020S1 | 2020S2 | 2021S1 | 2021S2
Excluding taxes and levies | 0.1332 | 0.1344 | 0.1366 | 0.1627
Excluding VAT and other recoverable taxes and levies | 0.1601 | 0.1611 | 0.1634 | 0.1898
All taxes and levies included | 0.1697 | 0.1707 | 0.1732 | 0.2011
|  |  | 78.87% | 80.91%
Special value:
: | not available
PRODUCT | Electrical energy
CONSOM | Band DC : 2 500 kWh < Consumption < 5 000 kWh
UNIT | Kilowatt-hour
GEO | Greece
CURRENCY | Euro
TAX/TIME | 2020S1 | 2020S2 | 2021S1 | 2021S2 | avg
Excluding taxes and levies | 0.1285 | 0.1278 | 0.1305 | 0.1588 | 0.14465
Excluding VAT and other recoverable taxes and levies | 0.158 | 0.1549 | 0.1585 | 0.1864 | 0.17245
All taxes and levies included | 0.1674 | 0.1641 | 0.168 | 0.1974 | 0.1827
Special value:
: | not available
PRODUCT | Electrical energy
CONSOM | Band DD : 5 000 kWh < Consumption < 15 000 kWh
UNIT | Kilowatt-hour
GEO | Greece
CURRENCY | Euro
TAX/TIME | 2020S1 | 2020S2 | 2021S1 | 2021S2
Excluding taxes and levies | 0.1231 | 0.1214 | 0.1249 | 0.1656
Excluding VAT and other recoverable taxes and levies | 0.1662 | 0.1582 | 0.167 | 0.2042
All taxes and levies included | 0.1761 | 0.1676 | 0.1769 | 0.2163
Special value:
: | not available
PRODUCT | Electrical energy
CONSOM | Band DE : Consumption > 15 000 kWh
UNIT | Kilowatt-hour
GEO | Greece
CURRENCY | Euro
TAX/TIME | 2020S1 | 2020S2 | 2021S1 | 2021S2
Excluding taxes and levies | 0.1141 | 0.1148 | 0.1156 | 0.1684
Excluding VAT and other recoverable taxes and levies | 0.1836 | 0.1864 | 0.1841 | 0.2409
All taxes and levies included | 0.1945 | 0.1975 | 0.1951 | 0.2553
Special value:
: | not available

## externalities
Τεχνολογία ενεργειακής αναβάθμισης | Επίπτωση στην απασχόλησης mil. €/mil. €)
| annual | total lifetime |  | 2 | Method
Ενεργειακά αποδοτικό σύστημα φωτισμού | 0.4592 | 0.015
Λέβητας πετρελαίου συμπύκνωσης σε κτίριο προ 1980 | 0.0714 | 0.186 |  | 1 | Building
Λέβητας πετρελαίου συμπύκνωσης σε κτίριο του 1981 - 2010 | 0.011 | 0.216
Λέβητας αερίου συμπύκνωσης σε κτίριο προ 1980 | 0.0807 | 0.25
Λέβητας αερίου συμπύκνωσης σε κτίριο του 1981 - 2010 | 0.015 | 0.3
Λέβητας βιομάζας σε κτίριο προ 1980 | 0.068 | 1.36
Λέβητας βιομάζας σε κτίριο του 1981 - 2010 | 0.085 | 1.71
Αντλία θερμότητας για θέρμανση σε κτίριο προ 1980 | 0.0553 | 0.213
Αντλία θερμότητας για θέρμανση σε κτίριο του 1981 - 2010 | 0.012 | 0.243
Αντλία θερμότητας για ψύξη σε κτίριο προ 1980 | -0.012 | -0.239
Αντλία θερμότητας για ψύξη σε κτίριο του 1981 - 2010 | -0.004 | -0.073
Ενεργειακά αποδοτική Κεντρική Κλιματιστική Μονάδα σε κτίριο προ 1980 | 0.014 | 0.213
Ενεργειακά αποδοτική Κεντρική Κλιματιστική Μονάδα σε κτίριο του 1981 - 2010 | 0.015 | 0.22
Ενεργειακά αποδοτικά παράθυρα σε κτίριο προ 1980 | 0.0345 | 0.405
Ενεργειακά αποδοτικά παράθυρα σε κτίριο του 1981 - 2010 | 0.015 | 0.441
Θερμομόνωση κελύφους σε κτίριο προ 1980 | 0.0287 | 0.146
Θερμομόνωση κελύφους σε κτίριο του 1981 - 2010 | 0.014 | 0.407
Σύστημα συμπαραγωγής φυσικού αερίου | -0.001 | -0.022
Ηλιοθερμικό σύστημα για παραγωγή ΖΝΧ | 0.11 | 0.522
Φωτοβολταικά | 0.027 | 0.119
Τεχνολογία | Καύσιμο | Κόστος εξωτερικοτήτων | Μονάδες
Αντλία θερμότητας | Ηλεκτρισμός | 14.2 | Euro / MWhth
Αποδοτικό Split unit - Αντλία θερμότητας | Ηλεκτρισμός | 14.2 | Euro / MWhth
Παλαιό Split unit - Αντλία θερμότητας | Ηλεκτρισμός | 23.5 | Euro / MWhth
Ηλεκτρικό καλοριφέρ | Ηλεκτρισμός | 47 | Euro / MWhth
Ηλεκτρικό θερμοσίφωνο | Ηλεκτρισμός | 48.5 | Euro / MWhth
Αποδοτικό Split unit - Αντλία θερμότητας | Ηλεκτρισμός | 13.1 | Euro / MWh cool
Παλαιό Split unit - Αντλία θερμότητας | Ηλεκτρισμός | 19.5 | Euro / MWh cool
Λέβητας | Φυσικό αέριο | 20 | Euro / MWhth
Συμπαραγωγή | Φυσικό αέριο | 11.7 | Euro / MWhth
Ενεργειακά αποδοτικός λέβητας | Φυσικό αέριο | 17.9 | Euro / MWhth
Λέβητας | Πετρέλαιο | 32 | Euro / MWhth
Συμπαραγωγή | Πετρέλαιο | 17.8 | Euro / MWhth
Ενεργειακά αποδοτικός λέβητας | Πετρέλαιο | 27.2 | Euro / MWhth
Λέβητας | LPG | 32 | Euro / MWhth
Συμπαραγωγή | LPG | 17.8 | Euro / MWhth
Ενεργειακά αποδοτικός λέβητας | LPG | 27.2 | Euro / MWhth
Ηλιακοί συλλέκτες | Ηλιακή ενέργεια | 9.6 | Euro / MWhth
Λέβητας | Στερεή βιομάζα | 13.2 | Euro / MWhth
Συμπαραγωγή | Στερεή βιομάζα | 4.3 | Euro / MWhth
Ενεργειακά αποδοτικός λέβητας | Στερεή βιομάζα | 11.2 | Euro / MWhth
Φωτοβολταικά | - | 14.1 | Euro / MWhel
Θερμομόνωση – EPS/XPS | - | 10.8 | Euro / m3
Θερμομόνωση – πετροβάμβακας | - | 7.6 | Euro / m3 | 10
Ανοίγματα - Αλουμινίου | - | 29.9 | Euro / m2
Ανοίγματα - PVC | - | 10.4 | Euro / m2
Ανοίγματα – Ξύλο | - | 0.2 | Euro / m2 | 23.03
Φωτισμός - LED | - | 0.44 | Euro / λαμπτήρα | 0.44
Σύστημα μηχανικού αερισμού | -
|  | NET | GROSS
Data | external cost | GVA | GVA |  |  | employment
| €/MWh | mil. €/mil.€ | mil. €/mil.€ |  |  | mil. €/mil.€
Oil boiler-existing | 32
Oil boiler-new | 27.2 | 0.012 | 0.0714 |  |  | 0.009
NG boiler-existing | 20
NG boiler-new | 17.9 | 0.0213 | 0.0807 |  |  | 0.012
HP-existing | 23.5
HP-new | 14.2 | 0.0277 | 0.0553 |  |  | 0.011
Electricity-current | 48.5
PV-new | 14.1 | 0.008 | 0.027 |  |  | 0.005
Solar-new | 9.6 | 0.024 | 0.11 |  |  | 0.026
Data | other units | mil. €/mil.€ | mil. €/mil.€ |  |  | mil. €/mil.€
Insulation-new | 10 | -0.0084 | 0.0287 |  |  | 0.005
Windows-new | 23 | 0.0248 | 0.0345 |  |  | 0.013
Lighting-new | 0.4 | -0.1505 | 0.4592 |  |  | 0.009

## data
Disaggregated final energy consumption in households - quantities [nrg_d_hhq]
Last update | 2022-01-26 19:00 | [11 empty] | 512055.4808
Extracted on | 2022-04-13 13:15
Source of data | Eurostat
NRG_BAL | Final consumption - other sectors - households - energy use
GEO | Greece
UNIT | Terajoule
SIEC/TIME | 2013 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 154826.952 | 181010.74 | 176561.666 | 181839.291 | 160643.669 | 171421.737
Solid fossil fuels, peat, peat products, oil shale and oil sands | 0 | : | 81.536 | 185.24 | 154.463 | 236.983
Natural gas | 9731.7 | 14892.3 | 13778.19 | 15100.309 | 13872.06 | 16093.043
Liquefied natural gas | 2530.046 | 3312 | 3220 | 3399.308 | 3420.33 | 3363.474
Oil and petroleum products | 40614.252 | 60186 | 52038 | 51187.458 | 42536.55 | 47378.814
Other kerosene | 172 | 172 | 129 | 157.638 | 109.736 | 129
Gas oil and diesel oil | 38681.013 | 57808.2 | 49671.6 | 48614.481 | 39867.977 | 44812.985
Renewables and biofuels | 39937 | 40703 | 36541 | 42568.536 | 41568 | 42950.876
Solar thermal | 7498 | 7872 | 8028 | 10883 | 11114 | 11464.996
Ambient heat (heat pumps) | : | : | : | 2577.536 | 2903 | 3029
Primary solid biofuels | 32439 | 32831 | 28513 | 29108 | 27551 | 26562.5
Biogases | 0 | : | : | : | : | :
Electricity | 62806 | 63136.44 | 71988.84 | 70660.267 | 60345.396 | 62559.14
Heat | 1738 | 2093 | 2134.1 | 2137.48 | 2167.2 | 2202.88
Special value:
: | not available
NRG_BAL | Final consumption - other sectors - households - energy use - space heating
GEO | Greece
UNIT | Terajoule
SIEC/TIME | 2013 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 73588.394 | 113014.13 | 100113.326 | 102445.622 | 86475.466 | 96582.516 | 94688.136 | Electricity | 182.7 | 144.65 | 23.5 | 3.162%
Solid fossil fuels, peat, peat products, oil shale and oil sands | : | : | 81.536 | 185.24 | 154.463 | 236.983 | 0.2503% | Heating oil | 115 | 40.25 | 32 | 47.71%
Natural gas | 9572.038 | 14369.31 | 12845.97 | 14490.595 | 12094.036 | 15515.679 | 16.39% | Natural gas | 68 | 62.5699 | 20 | 16.39%
Liquefied natural gas | 1819.898 | 2217.2 | 2148.2 | 2764.002 | 625.692 | 3025.742 |  | Solar thermal | 0 | 0 | 9.6 | 0.4555%
Oil and petroleum products | 39773.874 | 56729.4 | 49833 | 48815.76 | 38230.878 | 45171.588 | 47.71% | Biomass | 65 | 52.4194 | 13.2 | 26.66%
Other kerosene | 172 | 172 | 129 | 157.638 | 109.736 | 129 |  | Ambient heat | 0 | 0 | 0 | 3.199%
Gas oil and diesel oil | 38486.288 | 55316.1 | 48427.68 | 46797.25 | 38088.873 | 42886.996 |  | District heating | 60 | 56.6038 | 23.5 | 2.183%
Renewables and biofuels | 20627.471 | 32814.3 | 27845.5 | 31442.336 | 29762.603 | 30597.286 |  | Other | 30 | 24.1935 | 13.2 | 0.2503%
Solar thermal | 0 | 822.8 | : | 4.3 | : | 431.3 | 0.4555%
Ambient heat (heat pumps) | : | : | : | 2577.536 | 2903 | 3029 | 3.199% |  | 0.090494 | 0.049298 | 23.3948
Primary solid biofuels | 20627.471 | 31991.5 | 27845.5 | 28860.5 | 26859.603 | 25242.606 | 26.66% |  | 90.4937
Biogases | 0 | : | : | : | :
Electricity | 1877.011 | 7008.12 | 7537.32 | 5467.777 | 4255.945 | 2993.832 | 3.162%
Heat | 1738 | 2093 | 1970 | 2043.913 | 1977.541 | 2067.148 | 2.183%
Special value:
: | not available
NRG_BAL | Final consumption - other sectors - households - energy use - space cooling
GEO | Greece
UNIT | Terajoule
SIEC/TIME | 2013 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 3060.389 | 5808.6 | 7247.88 | 7915.615 | 5856.235 | 8475.779
Solid fossil fuels, peat, peat products, oil shale and oil sands | : | : | : | : | : | :
Natural gas | : | : | : | : | : | :
Liquefied natural gas | : | : | : | : | : | :
Oil and petroleum products | : | : | : | : | : | :
Other kerosene | : | : | : | : | : | :
Gas oil and diesel oil | : | : | : | : | : | :
Renewables and biofuels | : | : | : | : | : | :
Solar thermal | : | : | : | : | : | :
Ambient heat (heat pumps) | : | : | : | : | : | :
Primary solid biofuels | : | : | : | : | : | :
Biogases | : | : | : | : | : | :
Electricity | 3060.389 | 5808.6 | 7247.88 | 7915.615 | 5856.235 | 8475.779
Heat | : | : | : | : | : | :
Special value:
: | not available
NRG_BAL | Final consumption - other sectors - households - energy use - water heating
GEO | Greece
UNIT | Terajoule
SIEC/TIME | 2013 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 13850.296 | 20760.94 | 21976.7 | 24451.657 | 24782.807 | 22852.265
Solid fossil fuels, peat, peat products, oil shale and oil sands | 0 | : | : | : | : | :
Natural gas | 159.662 | 476.1 | 858.24 | 597.167 | 1689.597 | 468.503
Liquefied natural gas | 16.284 | 59.8 | 4.6 | : | 29.532 | :
Oil and petroleum products | 206.85 | 2511.6 | 1230.6 | 1791.636 | 1771.35 | 1898.862
Other kerosene | 0 | : | : | : | : | :
Gas oil and diesel oil | 194.725 | 2492.1 | 1243.92 | 1817.231 | 1769.306 | 1925.989
Renewables and biofuels | 7599.887 | 7103.2 | 8277.2 | 10893.3 | 11372.23 | 11033.696
Solar thermal | 7498 | 7049.2 | 8028 | 10878.7 | 11114 | 11033.696
Ambient heat (heat pumps) | : | : | : | : | : | :
Primary solid biofuels | 101.887 | 54 | 249.2 | 14.6 | 258.23 | :
Biogases | 0 | : | : | : | : | :
Electricity | 5883.898 | 10670.04 | 11446.56 | 11075.987 | 9759.971 | 9315.472
Heat | 0 | : | 164.1 | 93.567 | 189.659 | 135.732
Special value:
: | not available
NRG_BAL | Final consumption - other sectors - households - energy use - cooking
GEO | Greece
UNIT | Terajoule
SIEC/TIME | 2013 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 29205.822 | 10490.11 | 11518.24 | 8905.32 | 10175.708 | 10595.582
Solid fossil fuels, peat, peat products, oil shale and oil sands | : | : | : | : | : | :
Natural gas | : | 46.89 | 73.98 | 12.547 | 88.427 | 108.861
Liquefied natural gas | 693.864 | 1035 | 1067.2 | 635.306 | 2765.106 | 337.732
Oil and petroleum products | 633.528 | 945 | 974.4 | 580.062 | 2534.322 | 308.364
Other kerosene | : | : | : | : | : | :
Gas oil and diesel oil | : | : | : | : | 9.798 | :
Renewables and biofuels | 11709.642 | 785.5 | 418.3 | 232.9 | 433.167 | 1319.894
Solar thermal | : | : | : | : | : | :
Ambient heat (heat pumps) | : | : | : | : | : | :
Primary solid biofuels | 11709.642 | 785.5 | 418.3 | 232.9 | 433.167 | 1319.894
Biogases | : | : | : | : | : | :
Electricity | 16862.652 | 8712.72 | 10051.56 | 8079.811 | 7119.792 | 8858.462
Heat | : | : | : | : | : | :
Special value:
: | not available
NRG_BAL | Final consumption - other sectors - households - energy use - lighting and electrical appliances
GEO | Greece
UNIT | Terajoule
SIEC/TIME | 2013 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 35122.05 | 30936.96 | 35705.52 | 38121.077 | 33353.453 | 32915.596
Solid fossil fuels, peat, peat products, oil shale and oil sands | : | : | : | : | : | :
Natural gas | : | : | : | : | : | :
Liquefied natural gas | : | : | : | : | : | :
Oil and petroleum products | : | : | : | : | : | :
Other kerosene | : | : | : | : | : | :
Gas oil and diesel oil | : | : | : | : | : | :
Renewables and biofuels | : | : | : | : | : | :
Solar thermal | : | : | : | : | : | :
Ambient heat (heat pumps) | : | : | : | : | : | :
Primary solid biofuels | : | : | : | : | : | :
Biogases | : | : | : | : | : | :
Electricity | 35122.05 | 30936.96 | 35705.52 | 38121.077 | 33353.453 | 32915.596
Heat | : | : | : | : | : | :
Special value:
: | not available
NRG_BAL | Final consumption - other sectors - households - energy use - other end use
GEO | Greece
UNIT | Terajoule
SIEC/TIME | 2013 | 2015 | 2016 | 2017 | 2018 | 2019
Total | : | : | : | : | : | :
Solid fossil fuels, peat, peat products, oil shale and oil sands | : | : | : | : | : | :
Natural gas | : | : | : | : | : | :
Liquefied natural gas | : | : | : | : | : | :
Oil and petroleum products | : | : | : | : | : | :
Other kerosene | : | : | : | : | : | :
Gas oil and diesel oil | : | : | : | : | : | :
Renewables and biofuels | : | : | : | : | : | :
Solar thermal | : | : | : | : | : | :
Ambient heat (heat pumps) | : | : | : | : | : | :
Primary solid biofuels | : | : | : | : | : | :
Biogases | : | : | : | : | : | :
Electricity | : | : | : | : | : | :
Heat | : | : | : | : | : | :
Special value:
: | not available

## lifetime
Indicative measures | Type | Lifetime (years)
Windows/glazing with low U value | Technical | 30
Insulation: Building envelope (cavity wall and solid insulation on wall loft/roof insulation and floor) | Technical | 25
Heat recovery systems | Technical | 20
Heat pumps: Air to air | Technical | 10
Heat pumps: Exhaust air to water | Technical | 15
Heat pumps: Ground source | Technical | 25
Energy efficient central air-conditioners and chillers | Technical | 17
Efficient ventilation systems | Technical | 15
Commercial refrigeration | Technical | 8
Energy efficient office appliances (e.g. desktop or laptop computers, printers, photocopiers, fax machines) | Technical | 3
Motion detection light controls switching off lights when nobody is present | Technical | 10
Energy efficient lighting systems | Technical | 12
Energy efficient lighting systems for public spaces (e.g. roads) | Technical | 15
Energy efficient heating boilers irrespective of fuel | Technical | 25
Connection to the district heating | Technical | 30

## other approach
Available budget | 2000000000 | € | Year | O&M costs | O&M benefits | Fuel costs | Fuel benefits | External costs | External benefits | Capital costs | Residual value | Net cash flows
Average investments-Scenario | 18000 | € | 0 | [5 empty] | 1207163742.6901 | 1444444444.4444 |  | -237280701.7544
Average investments-Natural gas | 5000 | € | 1 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Number of affected households | 111111.1111 | number | 2 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Average energy consumption for space cooling | 1000 | kWh | 3 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Average energy consumption for space heating | 6000 | kWh | 4 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Performance ratio-Natural gas | 95% | % | 5 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Performance ratio-Oil | 78% | % | 6 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Energy savings-Natural gas | 1073.6842 | kWh | 7 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Energy savings-Electricity for space cooling | 55% | % | 8 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Energy savings-Thermal energy for space heating | 60% | % | 9 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Energy savings-Electricity for space cooling | 550 | kWh | 10 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Energy savings-Thermal energy for space heating | 3600 | kWh | 11 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Electricity prices | 0.19 | €/kWh | 12 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Thermal energy prices | 0.1 | €/kWh | 13 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Natural gas price | 0.06 | €/kWh | 14 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Economic benefit-Electricity for space cooling | 104.5 | € | 15 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Economic benefit-Thermal energy for space heating | 360 | € | 16 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Economic benefit-Natural gas | 107.3684 | € | 17 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
O&M-Baseline scenario | 0 | € | 18 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
O&M-Alternative scenario | 0 | € | 19 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Residual value-Alternative scenario | 5% | % of capital cost | 20 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
Discount rate | 3% | % | 21 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
|  |  | 22 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
|  |  | 23 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
NPV | 735479498.598 |  | 24 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  |  | 53120760.2339
IRR | 22.3% |  | 25 | 0 | 0 | 36166666.6667 | 84453216.3743 | 10958333.3333 | 15792543.8596 |  | 100000000 | 153120760.2339
B/C | 1.3465 |  | Total | 0 | 0 | 629775508.1679 | 1470596329.7286 | 190819076.7836 | 1482161641.3391 | 1444444444.4444 | 97087378.6408 | 735479498.598
Building value integration | 1 | 1: yes, 2: no
Employment method | 2 | 1: net, 2: gross
Type of multiple benefits | 5 | 1-5
Enviromental externalities
Data | external cost
€/MWh
Oil boiler-existing | 32
Oil boiler-new | 27.2
NG boiler-existing | 20
NG boiler-new | 17.9
HP-existing | 23.5
HP-new | 14.2
Electricity-current | 48.5
PV-new | 14.1
Solar-new | 9.6
Increase of building value
Capitalization rate | 4%
Total cost savings | 48286549.7076 | €
Energy savings | 48286549.7076 | €
O&M savings | 0 | €
Building value increase-total | 1207163742.6901 | €
multiple benefits
multiple benefits | external cost
Insulation + Windows + HVAC + Lighting | 5
Insulation + Windows | 4
Windows and/or HVAC and/or Lighting | 3
Insulation and/or HVAC and/or Lighting | 2
HVAC and/or Lighting | 1
Multiple benefits-Alternative | 1 | multiplier-type
Multiple benefits-Alternative | 10% | value